JADWAL MONITORING PURIFIED WATER

| PoU | Titik Sampling | Setiap Bulan |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Gedung Pharma Lantai 1 |  | Minggu 1 | Minggu 2 | Minggu 3 | Minggu 4 |
| PoU 1 | Granulation R&D |  |  |  |  |
| PoU 2 | Washing Tools |  |  |  |  |
| PoU 3 | IPC |  |  |  |  |
| PoU 4 | Coating |  |  |  |  |
| PoU 5 | Granulation TB Exproof |  |  |  |  |
| PoU 7 | Washkid 4 Mezanin |  |  |  |  |
| PoU 8 | Washkid 7 Mezanin |  |  |  |  |
| PoU 9 | Compacting, Sieving & Blending |  |  |  |  |
| PoU 10 | WIP Utility TB |  |  |  |  |
| PoU 11 | Coating TB |  |  |  |  |
| PoU 12 | CIP Tank Mezanin |  |  |  |  |
| PoU 12A | Small Scale Semi Solid and Liquid |  |  |  |  |
| PoU 13 | Premix Liquid |  |  |  |  |
| PoU 14 | Mixing Liquid |  |  |  |  |
| PoU 15 | Washing Tool Liquid |  |  |  |  |
| PoU 16 | Prepare Bottle 2 |  |  |  |  |
| PoU 17 | Prepare Bottle 1 |  |  |  |  |
| PoU 18 | Washing TB |  |  |  |  |
| PoU 19 | Washing |  |  |  |  |
| PoU 20 | WIP Utility Coating 3 |  |  |  |  |
| PoU 21 | Coating 3 |  |  |  |  |
| PoU 22 | Coating 2 |  |  |  |  |
| PoU 23 | WIP Utility Coating 2 |  |  |  |  |
| PoU 24 | WIP Utility Coating 1 |  |  |  |  |
| PoU 25 | Coating 1 |  |  |  |  |
| PoU 26 | Washkid 2 Mezanin |  |  |  |  |
| PoU 27 | Washkid 1 Mezanin |  |  |  |  |
| PoU 28 | R&D PW Tank Mezanin |  |  |  |  |
| PoU 29 | Binder 2 |  |  |  |  |
| PoU 30 | Filter Washing |  |  |  |  |
| PoU 31 | Binder 1 |  |  |  |  |
| PoU 32 | Washkid 3 Mezanin |  |  |  |  |
| PoU 33 | Sieving Room |  |  |  |  |
| PoU 34 | Washing Sampling |  |  |  |  |
| PoU 35 | Washing Weighing |  |  |  |  |

*) Jadwal ini tidak mengikat, tetapi semua titik pengambilan sampel harus diambil sampelnya pada waktu yang ditentukan

| PoU | Titik Sampling | Setiap Bulan |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Gedung Pharma Lantai 2 |  | Minggu 1 | Minggu 2 | Minggu 3 | Minggu 4 |
| PoU 1' | Washkid 5 Mezanin |  |  |  |  |
| PoU 2' | Granulation Room Oral Powder |  |  |  |  |
| PoU 3' | Sieving Room |  |  |  |  |
| PoU 4' | Washing |  |  |  |  |
| PoU 5' | Washing Tablet Non BL 2 |  |  |  |  |
| PoU 6' | WIP Utility Coating Tablet Non BL 2 |  |  |  |  |
| PoU 7' | Coating Tablet Non BL 2 |  |  |  |  |
| PoU 8' | Climatic Chamber Mezanin |  |  |  |  |
| PoU 9' | Washing Room |  |  |  |  |
| PoU 10' | Preparation Room |  |  |  |  |
| PoU 11' | Instrument 1 |  |  |  |  |
| PoU 12' | Analitical |  |  |  |  |
| PoU 13' | Washing Equipment |  |  |  |  |
| PoU 14' | Washing |  |  |  |  |
| PoU 15' | Sieving Room Tablet Non BL 2 |  |  |  |  |
| PoU 16' | Filter Washing |  |  |  |  |
| PoU 17' | Binder Tablet Non BL 2 |  |  |  |  |
| PoU 18' | Washkid 6 mezanin |  |  |  |  |

*) Jadwal ini tidak mengikat, tetapi semua titik pengambilan sampel harus diambil sampelnya pada waktu yang ditentukan

| PoU | Titik Sampling | Setiap Bulan |  |  |
| --- | --- | --- | --- | --- |
| Gedung Utiliti Tanki Pharma |  | Minggu 1 | Minggu 2 | Minggu 3 |
| OEP | Outlet RO-EDI Pharma |  |  |  |
| OMP | Outlet Mainloop Pharma |  |  |  |
| ORP | Outlet Return Pharma |  |  |  |

*) Jadwal ini tidak mengikat, tetapi semua titik pengambilan sampel harus diambil sampelnya pada waktu yang ditentukan

| PoU | Titik Sampling | Setiap Bulan |  |  |
| --- | --- | --- | --- | --- |
| Gedung Utiliti Tanki Herbal |  | Minggu 1 | Minggu 2 | Minggu 3 |
| OEH | Outlet RO-EDI Herbal |  |  |  |
| OMH | Outlet Mainloop Herbal |  |  |  |
| ORH | Outlet Return Herbal |  |  |  |

*) Jadwal ini tidak mengikat, tetapi semua titik pengambilan sampel harus diambil sampelnya pada waktu yang ditentukan

| PoU | Titik Sampling | Setiap Bulan |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Gedung Herbal Lantai 1 |  | Minggu 1 | Minggu 2 | Minggu 3 | Minggu 4 |
| PoU 1H | Tool Washing 4 |  |  |  |  |
| PoU 2H | Spare Room |  |  |  |  |
| PoU 3H | Spare Room |  |  |  |  |
| PoU 4H | Ekstraction 1 |  |  |  |  |
| PoU 5H | Evaporation |  |  |  |  |
| PoU 6H | Granulation 1 |  |  |  |  |
| PoU 7H | Evaporation & Chromatography |  |  |  |  |
| PoU 8H | Cuci & Tiris |  |  |  |  |
| PoU 9H | Evaporator |  |  |  |  |
| PoU 10H | CIP Ektraktor |  |  |  |  |
| PoU 11H | Ektraktor |  |  |  |  |
| PoU 12H | Liquid Process 1 (Mixing) |  |  |  |  |
| PoU 13H | Washing |  |  |  |  |
| PoU 14H | Liquid Process 1 (Sedimentasi) |  |  |  |  |
| PoU 15H | Liquid Process 2 |  |  |  |  |
| PoU 16H | Tool Washing 2 |  |  |  |  |
| PoU 17H | Penyimpanan Daun Hasil Pencucian |  |  |  |  |

*) Jadwal ini tidak mengikat, tetapi semua titik pengambilan sampel harus diambil sampelnya pada waktu yang ditentukan

| PoU | Titik Sampling | Setiap Bulan |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Gedung Herbal Lantai 2 |  | Minggu 1 | Minggu 2 | Minggu 3 | Minggu 4 |
| PoU 1H’ | Coating Room 2 |  |  |  |  |
| PoU 2H’ | Coating Room 1 |  |  |  |  |
| PoU 3H’ | Washing |  |  |  |  |
| PoU 4H’ | Cuci Filter |  |  |  |  |
| PoU 5H’ | Granulation room 1 |  |  |  |  |
| PoU 6H’ | Granulation room 3 |  |  |  |  |
| PoU 7H’ | Sterilisation , Equipment & Media |  |  |  |  |
| PoU 8H’ | Washing Equipment |  |  |  |  |
| PoU 9H’ | Lab RnD |  |  |  |  |
| PoU 10H’ | QC Laboratory |  |  |  |  |

*) Jadwal ini tidak mengikat, tetapi semua titik pengambilan sampel harus diambil sampelnya pada waktu yang ditentukan

JADWAL MONITORING SOFT WATER

| PoU | Titik Sampling | Setiap 3 Bulan |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gedung Pharma Lantai 1 |  | Bulan-1 |  |  |  | Bulan-2 |  |  |  | Bulan-3 |  |  |  |
|  |  | W1 | W2 | W3 | W4 | W1 | W2 | W3 | W4 | W1 | W2 | W3 | W4 |
| PoU SW-1 | Washing Sampling |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-2 | Janitor Sampling |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-3 | Washing |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-4 | Sieving Room |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-5 | IPC |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-6 | Washing Tools |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-7 | Compacting, Sieving, and Blending |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-8 | Tableting TB |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-9 | Capsulating TB |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-10 | IPC TB |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-11 | Washing TB |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-12 | Binder-1 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-13 | Filter Washing |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-14 | Janitor Granulasi |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-15 | Binder-2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-16 | Washing |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-17 | Utility Coating-1 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-18 | Utility Coating-2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-19 | Utility Coating-3 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-20 | Polish and Storage, Punch, & Dies Change Part |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-21 | Washing |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-22 | Holding Tank-1 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-23 | Holding Tank-2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-24 | Mixing Liquid Exproof |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-25 | Filling Liqid 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-26 | Filling Liquid 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-27 | Blistering-1 Non BL |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-28 | Blistering-2 Non BL |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-29 | Blistering-3 Non BL |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-30 | IPC Non BL |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-31 | Stripping 3 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-32 | Secondary Packaging Line 7 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-33 | Secondary Packaging Line Spare |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-34 | Small Scale Semi Solid and Liquid |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-35 | Small Scale Semi Solid and Liquid |  |  |  |  |  |  |  |  |  |  |  |  |

*) Jadwal ini tidak mengikat, tetapi semua titik pengambilan sampel harus diambil sampelnya pada waktu yang ditentukan

| PoU | Titik Sampling | Setiap 3 Bulan |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gedung Pharma Lantai 2 |  | Bulan-1 |  |  |  | Bulan-2 |  |  |  | Bulan-3 |  |  |  |
|  |  | W1 | W2 | W3 | W4 | W1 | W2 | W3 | W4 | W1 | W2 | W3 | W4 |
| PoU SW-1’ | Sieving Room |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-2’ | Binder tablet Non BL 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-3’ | Punch & Dies Tablet Non BL 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-4’ | Janitor Room |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-5’ | Filter Washing |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-6’ | Washing Tablet Non BL 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-7’ | IPC Tablet Non BL 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-8’ | Blistering 1 Tablet Non BL 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-9’ | Spare Blistering 2 Tablet Non BL 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-10’ | Spare Blistering 3 Tablet Non BL 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-11’ | Sieving Room Oral Powder Non BL 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-12’ | Granulation Room Oral Powder Non BL 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-13’ | IPC Oral Powder Non BL 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-14’ | Janitor Room |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-15’ | Washing Oral Powder Non BL 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-16’ | Utility Coating |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-17’ | Sacheting Room 2 Oral Powder Non BL 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-18’ | Sacheting Room 2 Oral Powder Non BL 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-19’ | Janitor Pack |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-20’ | Washing Equipment |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-21’ | Meja Reparasi |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-22’ | Meja Reparasi |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-23’ | Meja Reparasi |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-24’ | Meja Reparasi |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-25’ | Meja Reparasi |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-26’ | Meja Reparasi |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-27’ | Meja Reparasi |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-28’ | Meja Reparasi |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-29’ | Meja Reparasi |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-30’ | Meja Reparasi |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-31’ | Eye Wash |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-32’ | Calibration Room |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-33’ | Preparation Room |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-34’ | Washing Room |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-35’ | Drink Area |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-36’ | Instrument Room 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-37’ | Sterilitation Room |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-38’ | Sterilitation Room |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-39’ | Sterilitation Room |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-40’ | Destruction Room |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-41’ | Climatic Chamber Stabilitas |  |  |  |  |  |  |  |  |  |  |  |  |

*) Jadwal ini tidak mengikat, tetapi semua titik pengambilan sampel harus diambil sampelnya pada waktu yang ditentukan

| PoU | Titik Sampling | Setiap 3 Bulan |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gedung Herbal Lantai 1 |  | Bulan-1 |  |  |  | Bulan-2 |  |  |  | Bulan-3 |  |  |  |
|  |  | W1 | W2 | W3 | W4 | W1 | W2 | W3 | W4 | W1 | W2 | W3 | W4 |
| PoU SW-1H | Spare Room |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-2H | Bottle Blowing |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-3H | Secondary Packaging Line 4 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-4H | Filling Bottle 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-5H | Filling Bottle 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-6H | Secondary Packaging Line 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-7H | Stagging Bottle |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-8H | Washing |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-9H | IPC |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-10H | Tool Washing 3 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-11H | Tool Washing 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-12H | Spare Room |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-13H | Cuci Tiris Pilot |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-14H | Evaporation |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-15H | Evaporation and Chromatography |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-16H | Granulation 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-17H | Spray Drying |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-18H | IPC Ekstrak |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-19H | Penyimpanan Daun Hasil Pencucian |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-20H | Extraction |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-21H | Drying Simplisia 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-22H | Drying Simplisia 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-23H | Miling and Slicing |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-24H | Washing and Short Dirty Simplisia 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-25H | Washing and Short Dirty Simplisia 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-26H | Washing and Short Dirty Simplisia 3 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-27H | Washing and Short Dirty Simplisia 4 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-28H | Washing and Short Dirty Simplisia 5 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-29H | Tool Washing 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-30H | Liquid Process 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-31H | Liquid Process 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-32H | Eksraktor |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-33H | Evaporator |  |  |  |  |  |  |  |  |  |  |  |  |

*) Jadwal ini tidak mengikat, tetapi semua titik pengambilan sampel harus diambil sampelnya pada waktu yang ditentukan

| Kode | Titik Sampling | Setiap 3 Bulan |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gedung Herbal Lantai 2 |  | Bulan-1 |  |  |  | Bulan-2 |  |  |  | Bulan-3 |  |  |  |
|  |  | W1 | W2 | W3 | W4 | W1 | W2 | W3 | W4 | W1 | W2 | W3 | W4 |
| PoU SW-1H’ | Washing Equipment |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-2H’ | Instrument-1 Room QC |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-3H’ | R&D Lab / Eye Wash |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-4H’ | R&D Lab 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-5H’ | R&D Lab 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-6H’ | QC Laboratory 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-7H’ | QC Laboratory 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-8H’ | QC Laboratory 3 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-9H’ | Washing Equipment 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-10H’ | Washing Equipment 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-11H’ | Washing Equipment 3 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-12H’ | IPC Room |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-13H’ | Washing |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-14H’ | Cuci Filter |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-15H’ | Washing |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-16H’ | Granulation Room-1 |  |  |  |  |  |  |  |  |  |  |  |  |

| Kode | Titik Sampling | Setiap 3 Bulan |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gedung Herbal Lantai 2 |  | Bulan-1 |  |  |  | Bulan-2 |  |  |  | Bulan-3 |  |  |  |
|  |  | W1 | W2 | W3 | W4 | W1 | W2 | W3 | W4 | W1 | W2 | W3 | W4 |

| PoU SW-17H’ | Granulation Room-3 |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PoU SW-18H’ | Final Mixing-1 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-19H’ | Final mixing-2 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-20H’ | Utility Coating-1 |  |  |  |  |  |  |  |  |  |  |  |  |
| PoU SW-21H’ | Utility Coating-2 |  |  |  |  |  |  |  |  |  |  |  |  |

*) Jadwal ini tidak mengikat, tetapi semua titik pengambilan sampel harus diambil sampelnya pada waktu yang ditentukan

| PoU | Titik Sampling | Setiap 3 Bulan |  |  |
| --- | --- | --- | --- | --- |
| Tanki Gedung Utiliti |  | Bulan-1 | Bulan-2 | Bulan-3 |
| T1 | Sampling Point Softwater Tank T-1 |  |  |  |
| T2 | Sampling Point Softwater Tank T-2 |  |  |  |
| IRI | Inlet RO Industrial |  |  |  |
| ORI | Outlet RO Industrial |  |  |  |
| IRS | Inlet RO Pharma System |  |  |  |
| ORS | Outlet RO Pharma System |  |  |  |
| ISH | Inlet RO System Herbal |  |  |  |
| OSH | Outlet RO System Herbal |  |  |  |

*) Jadwal ini tidak mengikat, tetapi semua titik pengambilan sampel harus diambil sampelnya pada waktu yang ditentukan

JADWAL MONITORING RAW WATER

| PoU | Titik Sampling | Setiap 6 Bulan |  |
| --- | --- | --- | --- |
|  |  | Internal | Eksternal |
| RW-1 | Deep Well 1 |  |  |
| RW-2 | PDAM |  |  |
| RW-3 | Reservoir |  |  |
| RW-4 | Deep Well 2 |  |  |
| RW-5 | Active Carbon Filter (ACF) |  |  |
| RW-6 | DCW Tanki 4 |  |  |
| RW-7 | DCW Tanki 5 |  |  |
| RW-8 | DCW Tanki 6 |  |  |