Daftar PoU Water System

- Daftar PoU Purified Water Tanki Main Loop

| PoU | Titik Sampling | Kode |
| --- | --- | --- |
| OEP | Outlet RO-EDI Pharma System | V-21-03-B |
| OMP | Outlet Mainloop Pharma | V-21-12-A |
| ORP | Outlet Return Pharma | V-21-15-A |
| OEH | Outlet RO-EDI Herbal System | V-21-03-D |
| OMH | Outlet Mainloop Herbal | V-21-12-B |
| ORH | Outlet Return Herbal | V-21-15-B |

- Daftar PoU Purified Water Gedung Pharma Lantai 1

| PoU | Titik Sampling |
| --- | --- |
| PoU 1 | Granulation R&D |
| PoU 2 | Washing Tools |
| PoU 3 | IPC |
| PoU 4 | Coating |
| PoU 5 | Granulation TB Exproof |
| PoU 7 | Washkid 4 Mezanin |
| PoU 8 | Washkid 7 Mezanin |
| PoU 9 | Compacting, Sieving & Blending |
| PoU 10 | WIP Utility TB |
| PoU 11 | Coating TB |
| PoU 12 | CIP Tank Mezanin |
| PoU 12A | Small Scale Semi Solid and Liquid |
| PoU 13 | Premix Liquid |
| PoU 14 | Mixing Liquid |
| PoU 15 | Washing Tool Liquid |
| PoU 16 | Prepare Bottle 2 |
| PoU 17 | Prepare Bottle 1 |
| PoU 18 | Washing TB |
| PoU 19 | Washing |
| PoU 20 | WIP Utility Coating 3 |
| PoU 21 | Coating 3 |
| PoU 22 | Coating 2 |
| PoU 23 | WIP Utility Coating 2 |
| PoU 24 | WIP Utility Coating 1 |
| PoU 25 | Coating 1 |
| PoU 26 | Washkid 2 Mezanin |
| PoU 27 | Washkid 1 Mezanin |
| PoU 28 | R&D PW Tank Mezanin |
| PoU 29 | Binder 2 |
| PoU 30 | Filter Washing |
| PoU 31 | Binder 1 |
| PoU 32 | Washkid 3 Mezanin |
| PoU 33 | Sieving Room |
| PoU 34 | Washing Sampling |
| PoU 35 | Washing Weighing |

- Daftar  PoU Purified Water Gedung Pharma Lantai 2

| PoU | Titik Sampling |
| --- | --- |
| PoU 01’ | Washkid 5 Mezanin |
| PoU 02’ | Granulation Room Oral Powder |
| PoU 03’ | Sieving Room |
| PoU 04’ | Washing |
| PoU 05’ | Washing Tablet Non BL 2 |
| PoU 06’ | WIP Utility Coating Tablet Non BL 2 |
| PoU 07’ | Coating Tablet Non BL 2 |
| PoU 08’ | Climatic Chamber Mezanin |
| PoU 09’ | Washing Room |
| PoU 10’ | Preparation Room |
| PoU 11’ | Instrument 1 |
| PoU 12’ | Analitical |
| PoU 13’ | Washing Equipment |
| PoU 14’ | Washing |
| PoU 15’ | Sieving Room Tablet Non BL 2 |
| PoU 16’ | Filter Washing |
| PoU 17’ | Binder Tablet Non BL 2 |
| PoU 18’ | Washkid 6 mezanin |

- Daftar PoU Purified Water Gedung Herbal Lantai 1

| PoU | Titik Sampling |
| --- | --- |
| PoU 1H | Tool Washing 4 |
| PoU 2H | Spare Room |
| PoU 3H | Spare Room |
| PoU 4H | Ekstraction 1 |
| PoU 5H | Evaporation |
| PoU 6H | Granulation 1 |
| PoU 7H | Evaporation & Chromatography |
| PoU 8H | Cuci & Tiris |
| PoU 9H | Evaporator |
| PoU 10H | CIP Ektraktor |
| PoU 11H | Ektraktor |
| PoU 12H | Liquid Process 1 (Mixing) |
| PoU 13H | Washing |
| PoU 14H | Liquid Process 1 (Sedimentasi) |
| PoU 15H | Liquid Process 2 |
| PoU 16H | Tool Washing 2 |
| PoU 17H | Penyimpanan Daun Hasil Pencucian |

- Daftar PoU Purified Water Gedung Herbal Lantai 2

| PoU | Titik Sampling |
| --- | --- |
| PoU 1H’ | Coating Room 2 |
| PoU 2H’ | Coating Room 1 |
| PoU 3H’ | Washing |
| PoU 4H’ | Cuci Filter |
| PoU 5H’ | Granulation room 1 |
| PoU 6H’ | Granulation room 3 |
| PoU 7H’ | Sterilisation , Equipment & Media |
| PoU 8H’ | Washing Equipment |
| PoU 9H’ | Lab RnD |
| PoU 10H’ | QC Laboratory |

- Daftar Soft Water Gedung Utiliti

| PoU | Titik Sampling | Kode |
| --- | --- | --- |
| T1 | Sampling Point Softwater Tank T-1 | SP-WT-05 |
| T2 | Sampling Point Softwater Tank T-2 | SP-WT-06 |
| IRI | Inlet RO Industrial | V-22-63 |
| ORI | Outlet RO Industrial | V-22-64 |
| IRS | Inlet RO Pharma System | V-22-57-A |
| ORS | Outlet RO System Pharma | V-21-03-A |
| ISH | Inlet RO System Herbal | V-22-57-B |
| OSH | Outlet RO System Herbal | V-21-03-C |

- Datar Soft Water Gedung Pharma Lantai 1

| PoU | Titik Sampling |
| --- | --- |
| PoU SW-1 | Washing Sampling |
| PoU SW-2 | Janitor Sampling |
| PoU SW-3 | Washing |
| PoU SW-4 | Sieving Room |
| PoU SW-5 | IPC |
| PoU SW-6 | Washing Tools |
| PoU SW-7 | Compacting, Sieving, and Blending |
| PoU SW-8 | Tableting TB |
| PoU SW-9 | Capsulating TB |
| PoU SW-10 | IPC TB |
| PoU SW-11 | Washing TB |
| PoU SW-12 | Binder-1 |
| PoU SW-13 | Filter Washing |
| PoU SW-14 | Janitor Granulasi |
| PoU SW-15 | Binder-2 |
| PoU SW-16 | Washing |
| PoU SW-17 | Utility Coating-1 |
| PoU SW-18 | Utility Coating-2 |
| PoU SW-19 | Utility Coating-3 |
| PoU SW-20 | Polish and Storage, Punch, & Dies Change Part |
| PoU SW-21 | Washing |
| PoU SW-22 | Holding Tank-1 |
| PoU SW-23 | Holding Tank-2 |
| PoU SW-24 | Mixing Liquid Exproof |
| PoU SW-25 | Filling Liqid 1 |
| PoU SW-26 | Filling Liquid 2 |
| PoU SW-27 | Blistering-1 Non BL |
| PoU SW-28 | Blistering-2 Non BL |
| PoU SW-29 | Blistering-3 Non BL |
| PoU SW-30 | IPC Non BL |
| PoU SW-31 | Stripping 3 |
| PoU SW-32 | Secondary Packaging Line 7 |
| PoU SW-33 | Secondary Packaging Line Spare |
| PoU SW-34 | Small Scale Semi Solid and Liquid |
| PoU SW-35 | Small Scale Semi Solid and Liquid |

- Daftar Soft Water Gedung Pharma Lantai 2

| PoU | Titik Sampling |
| --- | --- |
| PoU SW-1’ | Sieving Room |
| PoU SW-2’ | Binder tablet Non BL 2 |
| PoU SW-3’ | Punch & Dies Tablet Non BL 2 |
| PoU SW-4’ | Janitor Room |
| PoU SW-5’ | Filter Washing |
| PoU SW-6’ | Washing Tablet Non BL 2 |
| PoU SW-7’ | IPC Tablet Non BL 2 |
| PoU SW-8’ | Blistering 1 Tablet Non BL 2 |
| PoU SW-9’ | Spare Blistering 2 Tablet Non BL 2 |
| PoU SW-10’ | Spare Blistering 3 Tablet Non BL 2 |
| PoU SW-11’ | Sieving Room Oral Powder Non BL 2 |
| PoU SW-12’ | Granulation Room Oral Powder Non BL 2 |
| PoU SW-13’ | IPC Oral Powder Non BL 2 |
| PoU SW-14’ | Janitor Room |
| PoU SW-15’ | Washing Oral Powder Non BL 2 |
| PoU SW-16’ | Utility Coating |
| PoU SW-17’ | Sacheting Room 2 Oral Powder Non BL 2 |
| PoU SW-18’ | Sacheting Room 2 Oral Powder Non BL 2 |
| PoU SW-19’ | Janitor Pack |
| PoU SW-20’ | Washing Equipment |
| PoU SW-21’ | Meja Reparasi |
| PoU SW-22’ | Meja Reparasi |
| PoU SW-23’ | Meja Reparasi |
| PoU SW-24’ | Meja Reparasi |
| PoU SW-25’ | Meja Reparasi |
| PoU SW-26’ | Meja Reparasi |
| PoU SW-27’ | Meja Reparasi |
| PoU SW-28’ | Meja Reparasi |
| PoU SW-29’ | Meja Reparasi |
| PoU SW-30’ | Meja Reparasi |
| PoU SW-31’ | Eye Wash |
| PoU SW-32’ | Calibration Room |
| PoU SW-33’ | Preparation Room |
| PoU SW-34’ | Washing Room |
| PoU SW-35’ | Drink Area |
| PoU SW-36’ | Instrument Room 2 |
| PoU SW-37’ | Sterilitation Room |
| PoU SW-38’ | Sterilitation Room |
| PoU SW-39’ | Sterilitation Room |
| PoU SW-40’ | Destruction Room |
| PoU SW-41’ | Climatic Chamber Stabilitas |

- Daftar Soft Water Gedung Herbal Lantai 1

| PoU | Titik Sampling |
| --- | --- |
| PoU SW-1H | Spare Room |
| PoU SW-2H | Bottle Blowing |
| PoU SW-3H | Secondary Packaging Line 4 |
| PoU SW-4H | Filling Bottle 2 |
| PoU SW-5H | Filling Bottle 1 |
| PoU SW-6H | Secondary Packaging Line 1 |
| PoU SW-7H | Stagging Bottle |
| PoU SW-8H | Washing |
| PoU SW-9H | IPC |
| PoU SW-10H | Tool Washing 3 |
| PoU SW-11H | Tool Washing 2 |
| PoU SW-12H | Spare Room |
| PoU SW-13H | Cuci Tiris Pilot |
| PoU SW-14H | Evaporation |
| PoU SW-15H | Evaporation and Chromatography |
| PoU SW-16H | Granulation 1 |
| PoU SW-17H | Spray Drying |
| PoU SW-18H | IPC Ekstrak |
| PoU SW-19H | Penyimpanan Daun Hasil Pencucian |
| PoU SW-20H | Extraction |
| PoU SW-21H | Drying Simplisia 1 |
| PoU SW-22H | Drying Simplisia 2 |
| PoU SW-23H | Miling and Slicing |
| PoU SW-24H | Washing and Short Dirty Simplisia 1 |
| PoU SW-25H | Washing and Short Dirty Simplisia 2 |
| PoU SW-26H | Washing and Short Dirty Simplisia 3 |
| PoU SW-27H | Washing and Short Dirty Simplisia 4 |
| PoU SW-28H | Washing and Short Dirty Simplisia 5 |
| PoU SW-29H | Tool Washing 1 |
| PoU SW-30H | Liquid Process 2 |
| PoU SW-31H | Liquid Process 1 |
| PoU SW-32H | Eksraktor |
| PoU SW-33H | Evaporator |

- Daftar Soft Water Gedung Herbal Lantai 2

| PoU | Titik Sampling |
| --- | --- |
| PoU SW-1H’ | Washing Equipment |
| PoU SW-2H’ | Instrument-1 Room QC |
| PoU SW-3H’ | R&D Lab / Eye Wash |
| PoU SW-4H’ | R&D Lab 1 |
| PoU SW-5H’ | R&D Lab 2 |
| PoU SW-6H’ | QC Laboratory 1 |
| PoU SW-7H’ | QC Laboratory 2 |
| PoU SW-8H’ | QC Laboratory 3 |
| PoU SW-9H’ | Washing Equipment 1 |
| PoU SW-10H’ | Washing Equipment 2 |
| PoU SW-11H’ | Washing Equipment 3 |
| PoU SW-12H’ | IPC Room |
| PoU SW-13H’ | Washing |
| PoU SW-14H’ | Cuci Filter |
| PoU SW-15H’ | Washing |
| PoU SW-16H’ | Granulation Room-1 |
| PoU SW-17H’ | Granulation Room-3 |
| PoU SW-18H’ | Final Mixing-1 |
| PoU SW-19H’ | Final mixing-2 |
| PoU SW-20H’ | Utility Coating-1 |
| PoU SW-21H’ | Utility Coating-2 |

| PoU | Titik Sampling |
| --- | --- |
| RW-1 | Sumur 1 |
| RW-2 | PDAM |
| RW-3 | Reservoir |
| RW-4 | Sumur 2 |
| RW-5 | Active Carbon Filter (ACF) |
| RW-6 | DCW Tanki 4 |
| RW-7 | DCW Tanki 5 |
| RW-8 | DCW Tanki 6 |

- Daftar Raw Water